## points
group | stAttrName | graphAttrName | unit | pointtype | min | max | pattern | period | offset
BAS Determined | EDGEMODE | EdgeMode | On/Off | binary | 0 | 1 | square | twoday | 5
BAS Determined | COMLOSSBAS | CommunicationsWithOEControllerLost | Alarm/Normal | binary | 0 | 1 | square | twoday | 5
BAS System | OAT | OutsideAirTemperature | F | analog | 20 | 130 | linear | day | 5
BAS System | OAH | OutsideAirHumidity | 0-100% | analog | 0 | 100 | linear | day | 5
BAS System | OAWB | OutsideAirWetBulb | F | analog | 32 | 132 | linear | day | 5
BAS System | CHWST | ChilledWaterSupplyTemperature | F | analog | 42 | 52 | sine | hourly | 0
BAS System | CHWRT | ChilledWaterReturnTemperature | F | analog | 50 | 55.3 | sine | hourly | 0
Chiller | CHkW | kW | kW | analog | 50 | 500 | sine | hourly | 5
Chiller | CHS | Status | Running/Off | binary | 0 | 1 | square | hourly | 5
Cooling Tower | CTkW | kW | kW | analog | 5 | 50 | sine | hourly | 5
Condenser Water Pump | CDWPkW | kW | kW | analog | 5 | 50 | sine | hourly | 5
Primary Chilled Water Pump | PCHWPkW | kW | kW | analog | 5 | 50 | sine | hourly | 5
Secondary Chilled Water Pump | SCHWPkW | kW | kW | analog | 5 | 50 | sine | hourly | 5
Summary | OptimumControl | OptimumControl | True/False | binary | 0 | 1 | square | twoday | 5
Summary | BASCommunicationFailure | BASCommunicationFailure | True/False | binary | 0 | 1 | square | twoday | 5
Summary | OptimizationStatusEnum | OptimizationStatusEnum | Value | analog | 1 | 5 | square | day | 0

## Sheet1
SubGroup | EquipNumber | StPointName | StAtrrName | GraphAttrName | Unit | ValueType | Address | PointType | DisplayName
Cooling Tower | 1 | CT1kW | CTkW | kW | kW | analog | 394 | BAS | CoolingTower_1 Fan kW
Cooling Tower | 1 | CT1SPD | CTSPD | OutputSpeed | 0-100% | analog | 395 | BAS | CoolingTower_1 Fan Output Speed
Cooling Tower | 1 | CT1S | CTS | Status | Running/Off | binary | 227 | BAS | CoolingTower_1 Fan Status
Cooling Tower | 1 | CT1Failed | CTFailed | Alarm | Alarm/Normal | binary | 228 | BAS | CoolingTower_1 Fan Failed (BAS Alarm)
Cooling Tower | 1 | CT1SS | CTSS | StartStopCommand | Enable/Disable | binary | 229 | BAS | CoolingTower_1 Fan Start/Stop Command
Cooling Tower | 1 | CT1EVLV | CTEVLV | EnteringWaterIsolationValveCommand | Closed/Open | binary | 230 | BAS | CoolingTower_1 Fan Entering Water Isolation Valve Command
Cooling Tower | 1 | CT1LVLV | CTLVLV | LeavingWaterIsolationValveCommand | Closed/Open | binary | 231 | BAS | CoolingTower_1 Fan Leaving Water Isolation Valve Command