## points
group | stAttrName | graphAttrName | unit | pointtype | min | max | pattern | period | offset
BAS Determined | ACHWDPSP | ActiveChilledWaterDifferentialPressureSetpoint | PSI | analog | 1 | 4 | saw | twoweek | 5
BAS Determined | CLGMODE | CoolingMode | Value | analog | 1 | 4 | saw | twoweek | 5
BAS Determined | EDGEMODE | EdgeMode | On/Off | binary | 0 | 1 | square | twoday | 5
BAS Determined | COMLOSSBAS | CommunicationsWithOEControllerLost | Alarm/Normal | binary | 0 | 1 | square | twoday | 5
BAS Determined | BASWATCHDOG | CommunicationsLoop | Value | analog | 1 | 4 | saw | twoweek | 5
BAS System | OAT | OutsideAirTemperature | F | analog | -40 | 110 | linear | day | 5
BAS System | OAH | OutsideAirHumidity | 0-100% | analog | 0 | 100 | linear | day | 5
BAS System | OAWB | OutsideAirWetBulb | F | analog | -40 | 110 | linear | day | 5
BAS System | CHWST | ChilledWaterSupplyTemperature | F | analog | 42 | 52 | sine | hourly | 0
BAS System | CHWRT | ChilledWaterReturnTemperature | F | analog | 50 | 55.3 | sine | hourly | 0
BAS System | CDWST | CondenserWaterSupplyTemperature | F | analog | 77 | 85 | sine | hourly | 0
BAS System | CDWRT | CondenserWaterReturnTemperature | F | analog | 84 | 90 | sine | hourly | 0
BAS System | CHWFLO | ChilledWaterFlow | GPM | analog | 45 | 100 | linear | hourly | 5
BAS System | CHWFLO2 | ChilledWaterFlowDecoupler | GPM | analog | 0 | 100 | linear | day | 5
BAS System | CDWFLO | CondenserWaterFlow | GPM | analog | 800 | 1800 | saw | twoweek | 5
BAS System | CHWSP | ChilledWaterSupplyPressure | PSI | analog | 30 | 40 | saw | twoweek | 5
BAS System | CHWRP | ChilledWaterReturnPressure | PSI | analog | 30 | 40 | saw | twoweek | 5
BAS System | CHWDP | ChilledWaterDifferentialPressure | PSI | analog | 1 | 4 | saw | twoweek | 5
BAS System | CHWBPV | ChilledWaterBypassValveCommand | 0-100% | analog | 40 | 80 | saw | twoweek | 5
BAS System | CDWBPV | CondenserWaterBypassValveCommand | 0-100% | analog | 40 | 80 | saw | twoweek | 5
Optimization | PCHWPSPD | PrimaryChilledWaterPumpSpeed | 0-100% | analog | 40 | 80 | saw | twoweek | 5
Optimization | CHWDPSP | ChilledWaterDPSetpoint | PSID | analog | 55 | 55 | linear | hourly | 0
Optimization | CHWSTSP | ChilledWaterTemperatureSetpoint | F | analog | 55 | 55 | linear | hourly | 0
Optimization | CDWPSPD | CondenserWaterPumpSpeed | 0-100% | analog | 40 | 80 | saw | twoweek | 5
Optimization | CTFANSPDMAX | MaximumCoolingTowerFanSpeed | 0-100% | analog | 40 | 80 | saw | twoweek | 5
Optimization | CDWSTSP | CondenserWaterSupplyTemperatureSetPoint | F | analog | 55 | 55 | linear | hourly | 0
Optimization | OEWATCHDOG | OEWatchDog | Value | analog | 0 | 100 | linear | day | 5
Optimization | EDGEREADY | EdgeReady | True/False | binary | 0 | 1 | square | twoday | 5
Chiller | CHCHWST | ChilledWaterSupplyTemperature | F | analog | 42 | 52 | sine | week | 0
Chiller | CHCHWRT | ChilledWaterReturnTemperature | F | analog | 50 | 55.3 | sine | week | 0
Chiller | CHCDWST | CondenserSupplyWaterTemperature | F | analog | 77 | 85 | sine | hourly | 0
Chiller | CHCDWRT | CondenserReturnWaterTemperature | F | analog | 84 | 90 | sine | hourly | 0
Chiller | CHCDT | CondenserRefrigerantTemperature | F | analog | 75 | 85 | sine | week | 0
Chiller | CHEVT | EvaporatorRefrigerantTemperature | F | analog | 75 | 85 | sine | week | 0
Chiller | CHCDP | CondenserRefrigerantPressure | PSI | analog | 30 | 40 | saw | twoweek | 5
Chiller | CHEVP | EvaporatorRefrigerantPressure | PSI | analog | 30 | 40 | saw | twoweek | 5
Chiller | CHF | AlarmFault | Alarm/Normal | binary | 0 | 1 | square | twoday | 5
Chiller | CHkW | kW | kW | analog | 50 | 150 | sine | hourly | 5
Chiller | CHCURRLMT | ActiveCurrentLimit | 0-100% | analog | 0 | 100 | linear | day | 5
Chiller | CHFLA | PercentFLA | 0-100% | analog | 0 | 100 | linear | day | 5
Chiller | CHS | Status | Running/Off | binary | 0 | 1 | square | hourly | 5
Chiller | CHCHWSTSP | ChilledWaterSupplyTemperatureSetpoint | F | analog | 55 | 55 | linear | hourly | 0
Chiller | CHCHWFLO | ChilledWaterFlow | GPM | analog | 30 | 100 | linear | day | 5
Chiller | CHCDWFLO | CondenserWaterFlow | GPM | analog | 0 | 100 | linear | day | 5
Chiller | CHCHWDP | WaterDifferentialPressure | PSI | analog | 30 | 40 | saw | twoweek | 5
Chiller | CHCDWDP | CondenserWaterDifferentialPressure | PSI | analog | 1 | 4 | saw | twoweek | 5
Chiller | CHCOMDISCHT | CompressorDischargeTemperature | F | analog | 0 | 100 | linear | day | 5
Chiller | CHSS | StartStopCommand | Enable/Disable | binary | 0 | 1 | square | twoday | 5
Chiller | CHALARM | Alarm | Alarm/Normal | binary | 0 | 1 | square | twoday | 5
Chiller | CHCHWVLV | CHWValveCommand | Closed/Open | binary | 0 | 1 | square | twoday | 5
Chiller | CHCDWVLV | CDWValveCommand | Closed/Open | binary | 0 | 1 | square | twoday | 5
Chiller | CHAVAIL | Available | True/False | binary | 0 | 1 | square | twoday | 5
Chiller | CHSPD | Compressor1OutputSpeed | 0-100% | analog | 0 | 100 | linear | day | 5
Chiller | CHIGV | Compressor1IGVPositionVanePosition | 0-100% | analog | 0 | 100 | linear | day | 5
Chiller | CHSURGE | Surge | True/False | binary | 0 | 1 | square | twoday | 5
Chiller | CHSURGECNT | Compressor1SurgeCount | Value | analog | 0 | 100 | linear | day | 5
Chiller | CHSURGECNT | SurgeCount | Value | analog | 0 | 100 | linear | day | 5
Chiller | CHCOM1S | Compressor1Status | Running/Off | binary | 0 | 1 | square | twoday | 5
Chiller | CHCOM1SPD | Compressor1OutputSpeed | 0-100% | analog | 0 | 100 | linear | day | 5
Chiller | CHCOM1F | Compressor1GeneralFault | Alarm/Normal | binary | 0 | 1 | square | twoday | 5
Chiller | CHCOM1IGV | Compressor1IGVPositionVanePosition | 0-100% | analog | 0 | 100 | linear | day | 5
Chiller | CHCOM1kW | Compressor1kW | kW | analog | 50 | 150 | sine | hourly | 5
Chiller | CHCOM2S | Compressor2Status | Running/Off | binary | 0 | 1 | square | twoday | 5
Chiller | CHCOM2SPD | Compressor2OutputSpeed | 0-100% | analog | 0 | 100 | linear | day | 5
Chiller | CHCOM2F | Compressor2GeneralFault | Alarm/Normal | binary | 0 | 1 | square | twoday | 5
Chiller | CHCOM2IGV | Compressor2IGVPositionVanePosition | 0-100% | analog | 0 | 100 | linear | day | 5
Chiller | CHCOM2kW | Compressor2kW | kW | analog | 50 | 150 | sine | hourly | 5
Chiller | CHCOM3S | Compressor3Status | Running/Off | binary | 0 | 1 | square | twoday | 5
Chiller | CHCOM3SPD | Compressor3OutputSpeed | 0-100% | analog | 0 | 100 | linear | day | 5
Chiller | CHCOM3F | Compressor3GeneralFault | Alarm/Normal | binary | 0 | 1 | square | twoday | 5
Chiller | CHCOM3IGV | Compressor3IGVPositionVanePosition | 0-100% | analog | 0 | 100 | linear | day | 5
Chiller | CHCOM3kW | Compressor3kW | kW | analog | 50 | 150 | sine | hourly | 5
Chiller | CHCOM4S | Compressor4Status | Running/Off | binary | 0 | 1 | square | twoday | 5
Chiller | CHCOM4SPD | Compressor4OutputSpeed | 0-100% | analog | 0 | 100 | linear | day | 5
Chiller | CHCOM4F | Compressor4GeneralFault | Alarm/Normal | binary | 0 | 1 | square | twoday | 5
Chiller | CHCOM4IGV | Compressor4IGVPositionVanePosition | 0-100% | analog | 0 | 100 | linear | day | 5
Chiller | CHCOM4kW | Compressor4kW | kW | analog | 50 | 150 | sine | hourly | 5
Chiller | CHSURGECNT | SURGECNT | Value | analog | 0 | 100 | linear | day | 5
Chiller | CHCOM1FLA | Compressor1PercentFLA | 0-100% | analog | 0 | 100 | linear | day | 5
Chiller | CHCOM1CHWRT | Compressor1ChilledWaterReturnTemperature | F | analog | 75 | 85 | sine | week | 0
Chiller | CHCOM1CHWST | Compressor1ChilledWaterSupplyTemperature | F | analog | 75 | 85 | sine | week | 0
Chiller | CHCOM1CDWST | Compressor1CondenserSupplyWaterTemperature | F | analog | 75 | 85 | sine | week | 0
Chiller | CHCOM1CDWRT | Compressor1CondenserReturnWaterTemperature | F | analog | 75 | 85 | sine | week | 0
Chiller | CHCOM1CDT | Compressor1CondenserRefigerantTemperature | F | analog | 75 | 85 | sine | week | 0
Chiller | CHCOM1EVT | Compressor1EvaporatorRefigerantTemperature | F | analog | 75 | 85 | sine | week | 0
Chiller | CHCOM1CDP | Compressor1CondenserRefigerantPressure | PSI | analog | 75 | 85 | sine | week | 0
Chiller | CHCOM1EVP | Compressor1EvaporatorRefigerantPressure | PSI | analog | 75 | 85 | sine | week | 0
Chiller | CHCOM1F | Compressor1AlarmFault | Alarm/Normal | binary | 0 | 1 | square | twoday | 5
Chiller | CHCOM1DISCHT | Compressor1DischargeTemperature | F | analog | 75 | 85 | sine | week | 0
Chiller | CHCOM2FLA | Compressor2PercentFLA | 0-100% | analog | 0 | 100 | linear | day | 5
Chiller | CHCOM2CHWRT | Compressor2ChilledWaterReturnTemperature | F | analog | 75 | 85 | sine | week | 0
Chiller | CHCOM2CHWST | Compressor2ChilledWaterSupplyTemperature | F | analog | 75 | 85 | sine | week | 0
Chiller | CHCOM2CDWST | Compressor2CondenserSupplyWaterTemperature | F | analog | 75 | 85 | sine | week | 0
Chiller | CHCOM2CDWRT | Compressor2CondenserReturnWaterTemperature | F | analog | 75 | 85 | sine | week | 0
Chiller | CHCOM2CDT | Compressor2CondenserRefigerantTemperature | F | analog | 75 | 85 | sine | week | 0
Chiller | CHCOM2EVT | Compressor2EvaporatorRefigerantTemperature | F | analog | 75 | 85 | sine | week | 0
Chiller | CHCOM2CDP | Compressor2CondenserRefigerantPressure | PSI | analog | 0 | 100 | linear | day | 5
Chiller | CHCOM2EVP | Compressor2EvaporatorRefigerantPressure | PSI | analog | 0 | 100 | linear | day | 5
Chiller | CHCOM2F | Compressor2AlarmFault | Alarm/Normal | binary | 0 | 1 | square | twoday | 5
Chiller | CHCOM2DISCHT | Compressor2DischargeTemperature | F | analog | 75 | 85 | sine | week | 0
Cooling Tower | CTkW | kW | kW | analog | 50 | 150 | sine | hourly | 5
Cooling Tower | CTSPD | OutputSpeed | 0-100% | analog | 0 | 100 | linear | day | 5
Cooling Tower | CTS | Status | Running/Off | binary | 1 | 1 | linear | twoday | 5
Cooling Tower | CTFailed | Alarm | Alarm/Normal | binary | 0 | 1 | square | twoday | 5
Cooling Tower | CTSS | StartStopCommand | Enable/Disable | binary | 0 | 1 | square | twoday | 5
Cooling Tower | CTEVLV | EnteringWaterIsolationValveCommand | Closed/Open | binary | 0 | 1 | square | twoday | 5
Cooling Tower | CTLVLV | LeavingWaterIsolationValveCommand | Closed/Open | binary | 0 | 1 | square | twoday | 5
Condenser Water Pump | CDWPkW | kW | kW | analog | 50 | 150 | sine | hourly | 5
Condenser Water Pump | CDWPSPD | OutputSpeed | 0-100% | analog | 0 | 100 | linear | day | 5
Condenser Water Pump | CDWPS | Status | Running/Off | binary | 0 | 1 | square | twoday | 5
Condenser Water Pump | CDWPFailed | Alarm | Alarm/Normal | binary | 0 | 1 | square | twoday | 5
Condenser Water Pump | CDWPSS | StartStopCommand | Enable/Disable | binary | 0 | 1 | square | twoday | 5
Primary Chilled Water Pump | PCHWPkW | kW | kW | analog | 50 | 150 | sine | hourly | 5
Primary Chilled Water Pump | PCHWPSPD | OutputSpeed | 0-100% | analog | 0 | 100 | linear | day | 5
Primary Chilled Water Pump | PCHWPS | Status | Running/Off | binary | 0 | 1 | square | twoday | 5
Primary Chilled Water Pump | PCHWPFailed | Alarm | Alarm/Normal | binary | 0 | 1 | square | twoday | 5
Primary Chilled Water Pump | PCHWPSS | StartStopCommand | Enable/Disable | binary | 0 | 1 | square | twoday | 5
Secondary Chilled Water Pump | SCHWPkW | kW | kW | analog | 50 | 150 | sine | hourly | 5
Secondary Chilled Water Pump | SCHWPSPD | OutputSpeed | 0-100% | analog | 0 | 100 | linear | day | 5
Secondary Chilled Water Pump | SCHWPS | Status | Running/Off | binary | 0 | 1 | square | twoday | 5
Secondary Chilled Water Pump | SCHWPFailed | Alarm | Alarm/Normal | binary | 0 | 1 | square | twoday | 5
Secondary Chilled Water Pump | SCHWPSS | StartStopCommand | Enable/Disable | binary | 0 | 1 | square | twoday | 5
Heat Exchanger | HXCHWRT | ChilledWaterReturnTemperature | F | analog | 75 | 85 | sine | week | 0
Heat Exchanger | HXCHWST | ChilledWaterSupplyTemperature | F | analog | 75 | 85 | sine | week | 0
Heat Exchanger | HXCDWRT | CondenserWaterReturnTemperature | F | analog | 75 | 85 | sine | week | 0
Heat Exchanger | HXCDWST | CondenserWaterSupplyTemperature | F | analog | 75 | 85 | sine | week | 0
Heat Exchanger | HXCHWFLO | ChilledWaterFlow | GPM | analog | 0 | 100 | linear | day | 5
Summary | CHCHWSTSPNotOptimized | NotOptimized | True/False | binary | 0 | 1 | square | twoday | 5
Summary | CHCHWSTSPNotOptimized | NotOptimized | True/False | binary | 0 | 1 | square | twoday | 5
Summary | CHCHWSTSPNotOptimized | NotOptimized | True/False | binary | 0 | 1 | square | twoday | 5
Summary | CTSPDNotOptimized | NotOptimized | True/False | binary | 0 | 1 | square | twoday | 5
Summary | CTSPDNotOptimized | NotOptimized | True/False | binary | 0 | 1 | square | twoday | 5
Summary | CDWPSPDNotOptimized | NotOptimized | True/False | binary | 0 | 1 | square | twoday | 5
Summary | CDWPSPDNotOptimized | NotOptimized | True/False | binary | 0 | 1 | square | twoday | 5
Summary | CDWPSPDNotOptimized | NotOptimized | True/False | binary | 0 | 1 | square | twoday | 5
Summary | PCHWPSPDNotOptimized | NotOptimized | True/False | binary | 0 | 1 | square | twoday | 5
Summary | PCHWPSPDNotOptimized | NotOptimized | True/False | binary | 0 | 1 | square | twoday | 5
Summary | PCHWPSPDNotOptimized | NotOptimized | True/False | binary | 0 | 1 | square | twoday | 5
Summary | CHWSTSPNotOptimized | ChilledWaterDPSetpointNotOptimized | True/False | binary | 0 | 1 | square | twoday | 5
Summary | CHWSTSPNotOptimized | ChilledWaterTemperatureSetpointNotOptimized | True/False | binary | 0 | 1 | square | twoday | 5
Summary | CDWSTSPNotOptimized | CondenserWaterSupplyTemperatureSetPointNotOptimized | True/False | binary | 0 | 1 | square | twoday | 5
Summary | OptimumControl | OptimumControl | True/False | binary | 0 | 1 | square | twoday | 5
Summary | BASCommunicationFailure | BASCommunicationFailure | True/False | binary | 0 | 1 | square | twoday | 5
Summary | OptimizationStatusEnum | OptimizationStatusEnum | Value | analog | 1 | 4 | square | day | 0
Summary | ChillerCount | ChillerCount | Value | analog | 12 | 12 | linear | day | 0

## Sheet1
SubGroup | EquipNumber | StPointName | StAtrrName | GraphAttrName | Unit | ValueType | Address | PointType | DisplayName
Cooling Tower | 1 | CT1kW | CTkW | kW | kW | analog | 394 | BAS | CoolingTower_1 Fan kW
Cooling Tower | 1 | CT1SPD | CTSPD | OutputSpeed | 0-100% | analog | 395 | BAS | CoolingTower_1 Fan Output Speed
Cooling Tower | 1 | CT1S | CTS | Status | Running/Off | binary | 227 | BAS | CoolingTower_1 Fan Status
Cooling Tower | 1 | CT1Failed | CTFailed | Alarm | Alarm/Normal | binary | 228 | BAS | CoolingTower_1 Fan Failed (BAS Alarm)
Cooling Tower | 1 | CT1SS | CTSS | StartStopCommand | Enable/Disable | binary | 229 | BAS | CoolingTower_1 Fan Start/Stop Command
Cooling Tower | 1 | CT1EVLV | CTEVLV | EnteringWaterIsolationValveCommand | Closed/Open | binary | 230 | BAS | CoolingTower_1 Fan Entering Water Isolation Valve Command
Cooling Tower | 1 | CT1LVLV | CTLVLV | LeavingWaterIsolationValveCommand | Closed/Open | binary | 231 | BAS | CoolingTower_1 Fan Leaving Water Isolation Valve Command